Access Control System

Smart Card Reader

AC-ACR6210K

Contactless Smart Card Reader

Key Features:

- The card reader offers flexible installation options that can be securely matched and fixed with electrical switch installation boxes

- The housing is made of high-strength ABS material, capable of withstanding strong impacts

- Adopts dynamic encryption using 3DES and SM1 (China National Standard 1, Commercial Standard 1)

- Advanced key management system that eliminates the risk of data theft and duplication

- Easily interface with most existing Wiegand protocol access control panels

- Configurable output options include Wiegand26, Wiegand32, Wiegand34, Wiegand35, Wiegand36,Wiegand37, and Wiegand44

- The reader supports ISO/IEC 14443 TYPE A/B and ISO/IEC 15693 communication protocols in reader/writer mode

- Multiple interfaces are supported, including a serial UART interfaceCustomizable 4-channel inputs, such as AC failure, battery failure, and tamper alarm

| Specification |  |
| --- | --- |
| Model | AC-ACR6210K |
| Installation | Installed on any wall with two screws |
| Dimensions | 84mm (width) x 122mm (height) x 24mm (depth) |
| Input VDC | 12VDC |
| Standby operating current | 60mA |
| Trigger operating current | 90mA Max |
| Sensing distance | 0-60mm (0”-2.4”) |
| Operating environment temperature | -15°C -55°C（ 5°F -131°F） |
| Operating environment humidity | 5% to 90% (non-condensing) |
| Operating environment | Indoor or outdoor |
| Color | Black or (customizable color) |
| IP code | IP65 |